## Checklist
USP Compounding Monograph Donation Checklist
Thank you for submitting your study for review by the USP Compounding expert committee. Please review the checklist below for critical data items which the committee will need for their review. In case of any questions, please feel free to send an email to the compounded preparation donation program manager using the email: CPMDonate@usp.org
Required elements |  | Indicate Yes, No, or N/A | Comments
Formulation
1 | Complete formula composition (suppliers and lot numbers)
2 | Compounding instructions
3 | Certificate of analysis of active ingredient
Method Development
4 | All Equipment used is specified (with manufacturers and model numbers)
5 | Assay is described in sufficient detail for reproducibility (Components, suppliers, lot numbers and grades, standard and sample preparation procedures, chromatographic conditions are described in detail)
6 | System Suitability results (RSD <= 2.0% and Tailing <= 2.0 for API Peak, Resolution between API and nearest peak >= 2.0, and Column efficiency)
Solution Stability: sample and standard preparation are stable for at least 4 days stored at ambient conditions in clear glass containers
7 | Reference standard calibration curve linearity results
8 | Accuracy results of drug recovery from standard solutions prepared at 80%, 100%, and 120%
9 | Intermediate precision results to assess laboratory variations (e.g., different days, by different analysts, and with different equipment, etc.)
10 | Forced degradation analysis (e.g. percentage recovery, any additional peaks) results
11 | Sample chromatograms from forced degradation
12 | Robustness results (deliberate variations of selected operating parameters such as mobile phase composition, buffer pH, flow rate, column temperature, or alternate columns)
13 | Intraday and interday coefficients of variation
14 | If applicable, filter compatibility test results, solution stability test results, homegeneity results, globule size distribution test results, etc.
Stability study
1 | Sample storage conditions, containers and closure systems are described
2 | Summary and raw data of any other tests: pH and appearance [color, clarity, and particulates for non-sterile preparations; color, clarity, and subvisible particulates <788> and <789> for injections and opthalmics]
3 | For aqueous non-sterile formulations and all multi-dose sterile formulations, <51> Antimicrobial Effectiveness Testing results
4 | If applicable for non-sterile preparations, microbiological tests for water-containing preparations (<61> Microbiological Examination of Nonsterile Products: Microbial Enumeration Tests and <62> Microbiological Examination of Nonsterile Products: Tests for Specified Microorganisms)
5 | For sterile preparations, container closure testing results <1207>
6 | For sterile preparations, sterility testing results <71>
Other considerations
1 | Please indicate whether your study was published and include a copy, if applicable

## Validation
[Drug Name] Compounded Oral Suspension (10 mg/mL)
Summary of Method Development Validation
System Suitability assess the ability of the test equipment and method to separate analytes and produce accurate results. System suitability tests are based on the concept that the equipment, electronics, analytical operations, and samples to be analyzed constitute an integral system that can be evaluated as such. Conclusion: The method passes all system suitability requirements
| Peak Area (AUC) | Tailing Factor | Column Efficiency (N) | Resolution (R)
Mean
Std Dev
%RSD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Criteria | ≤ 1.0% | ≤ 2.0 | ≥ 2000 | ≥ 2.0
Linearity is the ability to obtain test results that are directly proportional to the concentration of analyte in samples within a given range. Conclusion: The results meet the established criterion for linearity.
Assay | Conc (mg/mL) | Injection 1 | Injection 2 | Injection 3 | Average | %RSD
80% |  |  |  |  | #DIV/0! | #DIV/0!
90% |  |  |  |  | #DIV/0! | #DIV/0!
100% |  |  |  |  | #DIV/0! | #DIV/0!
110% |  |  |  |  | #DIV/0! | #DIV/0!
120% |  |  |  |  | #DIV/0! | #DIV/0!
|  |  | Results | Criteria
|  | R2 | 0.9988 | ≥ 0.995
|  | Y-Intercept | #DIV/0! | ≤ 1.5%
|  | R. dist. of resid | #DIV/0! | ≤ 1.5%
Intermediate Precision expresses within-laboratories variations (i.e. different days, different analysts, and different equipment, etc.) Conclusion: The results meet the established criterion for intermediate precision
Sample |  |  | %RSD | Criteria
Day 1, Analyst 1, Instrument 1, Column 1 |  |  |  | ≤ 5%
Day 2, Analyst 1, Instrument 1, Column 2 |  |  |  | ≤ 5%
Day 2, Analyst 2, Instrument 2, Column 1 |  |  |  | ≤ 5%
Day 3, Analyst 1, Instrument 3, Column 1 |  |  |  | ≤ 5%
Day 4, Analyst 2, Instrument 2, Column 1 |  |  |  | ≤ 5%
Overall %RSD |  |  | #DIV/0!
Repeatability expresses the precision under the same operating conditions over a short interval of time using the same analyst with the same equipment. Conclusion: The results meet the established criterion for repeatability
Sample | %RSD |  | Criteria
80% |  |  | ≤ 2%
100% |  |  | ≤ 2%
120% |  |  | ≤ 2%
Accuracy expresses the closeness of the test result obtained to the true value. Conclusion: The % recovery meets the established criterion for accuracy
Sample | Recovery |  | Criteria
75% |  |  | 98 - 102%
100% |  |  | 98 - 102%
125% |  |  | 98 - 102%
Robustness is a measure of the method's capacity to remain unaffected by small but deliberate variations in method parameters and provides an indication of its suitability during normal usage. Conclusion: The method is robust to minor alterations in the method
Sample |  |  | %RSD | Tailing Factora | Column Efficiency (N)b | Resolution (R)c
Column Temperature (+2°)
Column Temperature (–2°)
Flow Rate (+10%)
Flow Rate (–10%)
Acetonitrile in Mobile Phase (+2%)
Acetonitrile in Mobile Phase (-2%)
Criteria |  |  | ≤ 1.0% | ≤ 2.0 | ≥ 2000 | ≥ 2.0
a Average tailing factor of 3 samples
b Average column efficiency of 3 samples
c Lowest resolution of nearest peak of 3 samples
Solution Stability measures the stability of the sample and standard preparation. Conclusion: All solutions are stable for at least 4 days stored at ambient conditions in clear glass containers
| Sample | Standard | Criteria
Intra-day stability
4 hr |  |  | 94 - 103%
8 hr |  |  | 95 - 103%
12 hr |  |  | 96 - 103%
16 hr |  |  | 97 - 103%
20 hr |  |  | 97 - 103%
Inter-day stability
Day 1 |  |  | 97 - 103%
Day 2 |  |  | 97 - 103%
Day 3 |  |  | 97 - 103%
Filter Study assesses recovery after filtration to assess the suitability of the filter. Conclusion: Filtration and centrifugation of the sample preparations did not affect the recovery
|  | Centrifuge | Filtered | Criteria
Sample |  |  |  | 97 - 103%
Standard |  |  |  | 97 - 103%
Specificity is the ability to assess unequivocally the analyte in the presence of components which may be expected to be present (e.g. impurities, degradants, matrix components, etc) Conclusion: Degradation peaks were completely resolved from the [drug name] peak. The method demonstrates specificity for [drug name] in the presence of components likely to be generated during the stability study
|  | Recovery | Additional Peaks RRT |  | Criteria
HCl |  |  |  |  | 10-20% degradation of [drug name] achieved. Degradation peaks do not interfere with [drug name] peak. [Drug Name] peak spectrally pure.
NaOH
H2O2
UV
Heat/Humidity
Homogeneity evaluates the uniformity of the suspension by sampling from the top, middle, and bottom of the bottle Conclusion: The suspension is homogenous
| Avg Recovery (2° ─ 8°) |  |  | Avg Recovery (20° - 25°) |  | Criteria
Top | Bottle 1 |  | Top | Bottle 1 |  | 97 - 103%
Middle |  |  | Middle
Bottom |  |  | Bottom
Average |  | #DIV/0! | Average |  | #DIV/0!
| %RSD | #DIV/0! |  | %RSD | #DIV/0!
Top | Bottle 2 |  | Top | Bottle 2 |  | 97 - 103%
Middle |  |  | Middle
Bottom |  |  | Bottom
Average |  | #DIV/0! | Average |  | #DIV/0!
| %RSD | #DIV/0! |  | %RSD | #DIV/0!
Top | Bottle 3 |  | Top | Bottle 3 |  | 97 - 103%
Middle |  |  | Middle
Bottom |  |  | Bottom
Average |  | #DIV/0! | Average |  | #DIV/0!
| %RSD | #DIV/0! |  | %RSD | #DIV/0!

## Stability
[Drug Name] Compounded Oral Suspension (10 mg/mL)
Summary of Beyond-Use Date Assay
Storage Condition: Cold Temperature (2° ─ 8°)
|  | Initial (T0) | 7 days (T7) | 14 days (T14) | 30 days (T30) | 60 days (T60) | 90 days (T90)
Date tested
Appearance
pH
Bottle 1
Bottle 2
Bottle 3
| Average | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Assay conc (mg/mL)
Bottle 1
Bottle 2
Bottle 3
| Average | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| % of label | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| %RSD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Storage Condition: Controlled Room Temperature (20° - 25°)
|  | Initial (T0) | 7 days (T7) | 14 days (T14) | 30 days (T30) | 60 days (T60) | 90 days (T90)
Date tested
Appearance
pH
Bottle 1
Bottle 2
Bottle 3
| Average | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Assay conc (mg/mL)
Bottle 1
Bottle 2
Bottle 3
| Average | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| % of label | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| %RSD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!